ORLEBAR COURT ¦ NIGHT CONCIERGE • 22:00–06:00 CRITICAL ACTIONS • FIRST TWO MINUTES

STOP • Protect yourself and others. Do not enter smoke, fire, gas, floodwater or any unsafe area.

| 01 IMMEDIATE DANGER Assess first. Keep clear, make the area safe only if you can, and withdraw if control is unsafe. | 02 FIRE / SMOKE Raise the alarm and call 999/112. Follow the building fire plan and move people by a safe route; never investigate through smoke. |
| --- | --- |
| 03 LIFT — PERSON INSIDE Establish two-way contact if safe; reassure and note the car/floor. Injury, distress, fire or danger → 999/112; otherwise use the approved lift specialist. | 04 LIFT — FAULT Keep people out and report it. Never force doors, climb out, reset equipment or attempt a technical rescue. |
| 05 GAS SMELL / RELEASE No flames, smoking or electrical switching. Move people away; call 999/112 or the approved specialist. Do not find, diagnose or repair the leak. | 06 GAS ISOLATION Only isolate if specifically authorised, safely accessible and within your competence; otherwise stop, withdraw and wait for competent help. |
| 07 SPRINKLER / WATER ESCAPE Protect occupants and contain spread only if safe and authorised. Do not improvise repairs or isolate fire protection while fire/smoke may be present unless directed by the responsible authority. | 08 DISPUTED SPRINKLER VALVE Do not rely on either handover record. Before lamination, physically verify valve identity/location against site labels with competent facilities staff. |
| 09 FLOOD / MAJOR LEAK Move people away; avoid switches and electrical equipment. Do not enter water where electrics may be affected; preserve responder access and escalate. | 10 POWER / SERVICES FAILURE Use a torch or approved emergency light (no candles/open flame). Check for immediate hazards, keep access clear, and call facilities/on-call. |
| 11 SMOKE-VENT CONTROL Treat as life-safety equipment. Use only under the approved emergency arrangement or competent direction; do not troubleshoot or improvise settings. | 12 SECURITY / FORCED ENTRY Do not confront or pursue. Keep yourself and others safe, secure distance, and call 999/112 for danger or suspicious activity; otherwise alert the manager. |
| 13 MEDICAL DISTRESS Call 999/112. Give basic first aid/AED only within your training; keep the casualty or vulnerable person reassured and attended where safe. | 14 ALARMS / RESPONDER ACCESS Do not reset, silence, isolate or disable an alarm to stop noise. Record the panel indication (never codes); keep desk/access route available. Dry-riser inlet is for responders—do not operate or test. |
| 15 CALL • LOG • HAND OVER For help give: Orlebar Court + verified address/location, incident, casualties and hazards. Log time, location, condition, calls and actions; hand over facts to the incoming manager/responder. |  |

CONCIERGE SCOPE: Make safe • raise alarm • call • communicate • record. Fire-system, lift, gas, electrical and smoke-vent technical work, resets and life-safety isolation belong to competent specialists or emergency services. Keep away/stop work when unsafe. Do not speculate, assign blame, claim resolved, or promise an unconfirmed outcome.

| VERIFY BEFORE LAMINATION | ON-CALL (approved role/number) | SPECIALIST (lift/life-safety) |
| --- | --- | --- |
| Emergency building address / responder location: ____________________ Sprinkler isolation valve ID / location (physically verified): ____________________ | Building manager / facilities: ____________________ | Contact: ____________________ |

CONTROL  Version: ______   Review date: ______   Verified by: ____________________   NOT VALID UNTIL LOCAL FIELDS ARE CHECKED